## Slide 1
2025.10.11
Sixiang Ran
Specialty Fiber
Photothermal Spectroscopy
for Trace Gas Detection

## Slide 2
Content
Background
Methodology
Recent progress
Conclusion
1
2
3
4
2

## Slide 3
Background
Fault type | Target gas
Arc discharge | 
Spark discharge | 
Overheating | 
Fault type | Target gas
Arc discharge | 
Spark discharge | 
Overheating | 
Electrical grid monitoring
Other application scenarios
Scenarios | Target gas
Semiconductor clean room | NF3
Grain storage facility | PH3（磷化氢）
Customs | SO2F2（硫酰氟）
3
Typical application of trace gas detection

## Slide 4
Background：
4
LAS principle
Gas detection with micro- and nano-engineered optical fibers. Opt. Fiber Technol 2013, 19, 741.
Wavelength modulation technique
Modulation wave number
Absorption coefficient
Direct absorption type
Pump-probe type
Laser absorption spectroscopy
Gas absorption line
Pump light fast modulation
Pump laser slow tuning
Probe laser output

## Slide 5
Background
5

## Slide 6
Background
Atmos. Meas. Tech. 2024, 17, 5903
High light energy density and long distance
Sensitivity：Low light energy density and short distance
Integration：large volume、complex reflection will drift
smaller volume、compact all-fiber system
Specialty fiber enhanced spectral gas detection
6
All-fiber photothermal spectroscopy (Common advantages)
J. Lightwave Technol. 2019, 37, 4222.
Nat Commun, 2015, 6, 6767.
Spatial optical cavity enhanced gas detection

## Slide 7
Free space PTI
Gaussian light field
Mode field of AR-HCF
Evanescent field of NF
Nat. Commun, 2020, 11, 847
J. Lightwave Technol., 2017, 35, 24
Hollow core fiber PTI
Nano fiber PTI
Appl. Phys. Lett., 2025, 126.
(a)
7
7
d0 ~100 μm
d0 ~10 μm
d0 ~1 μm
7
Background
LaserPhotonicsRev.2023,17,2200972
Background photothermal signal affects detection!

## Slide 8
THANKS FOR ATTENTION！