## Slide 1
2025.10.11
Sixiang Ran
Specialty Fiber
Photothermal Spectroscopy
for Trace Gas Detection

## Slide 2
Content
Background
Methodology
Recent progress
Conclusion
1
2
3
4
2

## Slide 3
Spatial Resolution
3
OCT(Optical Coherence Tomography) vs. Ultrasound
Performance Indicator | OCT | Clinical High-Frequency Ultrasound
Detection Medium | Near-Infrared (Low Coherence) | Sound Waves (10-50 MHz)
Axial Resolution |  | ~100
Imaging Depth | 1 ~ 3 mm | 30 ~ 100 mm
Performance Indicator | OCT | Clinical High-Frequency Ultrasound
Detection Medium | Near-Infrared (Low Coherence) | Sound Waves (10-50 MHz)
Axial Resolution |  | 
Imaging Depth | 1 ~ 3 mm | 30 ~ 100 mm
OCT, often referred to as "optical ultrasound“, strikes a perfect balance between resolution and depth of penetration.
High Resolution Imaging in Microscopy and Ophthalmology: New Frontiers in Biomedical Optics, edited by J. Roland, J. P. Rolland, and J. Jannick (Springer Nature, 2014).

## Slide 4
Spatial Resolution
4
Low-Coherence Interferometry
OCT：Core Principle
Low-coherence interferometry via a Michelson interferometer geometry
Interference occurs only when the optical path difference is strictly within the coherence length
Axial Resolution
(Wider bandwidth Higher resolution)
Advantages of Ultrafast Lasers:
According to the Fourier transform limit, a femtosecond pulse inherently possesses an extremely broad spectral bandwidth.

## Slide 5
5
OCT：Technical Evolution
SD-OCT：Spectral-Domain OCT
Eliminates mechanical reference arm scanning
High Resolution Imaging in Microscopy and Ophthalmology: New Frontiers in Biomedical Optics, edited by J. Roland, J. P. Rolland, and J. Jannick (Springer Nature, 2014).
Coherent information from all depths is acquired in the frequency domain using a spectrometer
Phase Stability
Spatial Resolution

## Slide 6
6
OCT Applications：Structural imaging
Optical Biopsy of Retinal Layers
High-sensitivity resolution of stratified microstructures of the retina
using the ultra-broad spectrum of ultrafast lasers.
Spatial Resolution

## Slide 7
7
Optical Biopsy of Retinal Layers
OCT Applications：Structural imaging
A patient with
diabetic macular edema
A patient with choroidal neovascularization resulting from age-related macular degeneration (AMD)
A patient with neovascular
AMD with extensive subretinal hyperreflective material
Spatial Resolution
DME diagnosis: Real-time assessment of tissue fluid accumulation and cystic edema in areas such as the inner nuclear layer.
Drusen Identification: Precisely captures the minute bumps caused by the glass film light spot (Drusen) beneath the RPE layer.
Leakage monitoring: Observe the accumulation of subretinal high reflectivity material (SHRM), which is usually an important marker of choroidal neovascularization (CNV) and its activity.

## Slide 8
8
Optical Biopsy of Retinal Layers
OCT Applications：Structural imaging
A patient with
diabetic macular edema
A patient with choroidal neovascularization resulting from age-related macular degeneration (AMD)
A patient with neovascular
AMD with extensive subretinal hyperreflective material
Spatial Resolution
DME diagnosis: Real-time assessment of tissue fluid accumulation and cystic edema in areas such as the inner nuclear layer.
Drusen Identification: Precisely captures the minute bumps caused by the glass film light spot (Drusen) beneath the RPE layer.
Leakage monitoring: Observe the accumulation of subretinal high reflectivity material (SHRM), which is usually an important marker of choroidal neovascularization (CNV) and its activity.

## Slide 9
9
Diagnostic Science
Conclusions
Ultrafast laser technology is an important tool of modern label-free biomedical diagnostics.
Temporal Domain: Transient Dynamics
The Pump-Probe method turns spatial distance into high time resolution. It helps us capture the fast process of heat loss at the molecular level.
Spatial Domain: 3D Anatomy
OCT uses the features of ultrafast lasers to produce 3D images with extremely high resolution. Unlike traditional tools, it can show deep details clearly without touching the body.
Future
The combination of deep learning and functional OCT/Pump-Probe will provide a new imaging tool. It will further improve the quality of medical pictures and offer more help in clinical medicine.

## Slide 10
10
References
[1] H.A. Haus, Mode-locking of lasers, IEEE Journal of Selected Topics in Quantum Electronics 6(6) (2000) 1173-1185.https://doi.org/10.1109/2944.902165
[2] A.H. Zewail, Femtochemistry: Atomic-Scale Dynamics of the Chemical Bond, The Journal of Physical Chemistry A 104(24) (2000) 5660-5694.https://doi.org/10.1021/jp001460h
[3] D. Huang, E.A. Swanson, C.P. Lin, J.S. Schuman, W.G. Stinson, W. Chang, M.R. Hee, T. Flotte, K. Gregory, C.A. Puliafito, J.G. Fujimoto, Optical Coherence Tomography, Science 254(5035) (1991) 1178-1181.https://doi.org/doi:10.1126/science.1957169
[4] I.R. Piletic, T.E. Matthews, W.S. Warren, Probing Near-Infrared Photorelaxation Pathways in Eumelanins and Pheomelanins, The Journal of Physical Chemistry A 114(43) (2010) 11483-11491.https://doi.org/10.1021/jp103608d
[5] W. Min, S. Lu, S. Chong, R. Roy, G.R. Holtom, X.S. Xie, Imaging chromophores with undetectable fluorescence by stimulated emission microscopy, Nature 461(7267) (2009) 1105-1109.https://doi.org/10.1038/nature08438
[6] T.E. Matthews, I.R. Piletic, M.A. Selim, M.J. Simpson, W.S. Warren, Pump-probe imaging differentiates melanoma from melanocytic nevi, Sci Transl Med 3(71) (2011) 71ra15.https://doi.org/10.1126/scitranslmed.3001604
[7] N. Nishizawa, Wideband ultrafast fiber laser sources for OCT and metrology, Journal of Physics B: Atomic, Molecular and Optical Physics 49(18) (2016) 182003.https://doi.org/10.1088/0953-4075/49/18/182003
[8] P. Chen, Z. Long, Q. Cheng, M. Song, W. Wang, R. Liu, Z. Zhang, K. Xia, Z. Yang, L. Qian, S. Bai, X. Wang, P. Yang, P. Xu, E.S. Yousef, R. Wang, On-Chip Supercontinuum Generation Pumped by Short Wavelength Fiber Lasers, Photonics, 2024, p. 440.10.3390/photonics11050440.

## Slide 11
THANKS FOR ATTENTION！