EE108 Optoelectronics Intellisense

Study Report

on

Photonics for healthcare: powerful wearable optical device

Submitted by: 陈信均

Email: 12311125@mail.sustech.edu.cn

15 May 2025

- Table of Contents

Chapter 1	Introduction	1

Chapter 2	Results and Discussion	2-3

Chapter 3	Conclusions	4

References	5

Appendix ( no page limit)

Introduction

Currently, wearable devices are popular in our daily life, and major consumer electronics manufacturers have proposed medical monitoring methods based on wearable devices such as smartwatches, which are able to achieve functions such as exercise monitoring, heart rate monitoring, and blood oxygen concentration detection.

Optical sensor technologies have emerged as a significant part of wearable devices, offering multiple advantages in sensitivity, non-invasiveness and multiplex detection capabilities. However, despite their transformative potential, the integration of optical systems into compact wearable devices faces three persistent challenges: lightweight design (balancing sensitivity with portability), reliability of detection, and power limitations (sustaining high-performance detection under energy constraints).

Recent advancements in materials science, micro-nano photonics, and edge computing are driving a paradigm shift. Innovations in flexible electronics enable deformable optical components that conform to dynamic human motion, while microstructured optical elements shrink traditional bulk optics into chip-scale systems. In addition, concurrently, artificial intelligence is able to optimize resource allocation, allowing adaptive sensing strategies that minimize redundant data acquisition. Together, these interdisciplinary breakthroughs are going to redefine the boundaries of wearable photonic systems, paving the way for devices that harmonize clinical-grade accuracy with everyday usability, enabling the complex optical devices in laboratory to apply in our daily situations, including clothing, wrists and even the ambient environments.

Results and Discussion

Photon sensing has several common methods in the field of biomedical. There are fiber Bragg grating and intensity modulation sensors, surface plasmon resonance-based sensing, surface-enhanced Raman scattering (SERS), Fluorescent sensing and so on in the field of biosensing. In basic cognition, optical device is heavy and large-volume, which is difficult to be used in wearable field. As the progress of interdisciplinary including flexible electronics and Micro-nano optics, wearable optical devices become possible.

In the limited area of wearable device, it is possible to achieve a series of tasks such as detecting target aggregation, interaction between light and matter, and signal transmission. Some scientists have also proposed the concept of Optofluidics [1]. Scientists have found that microfluidics and optics, besides being two independent parts, greatly influence and cooperate with each other when combined, enabling many more functionalities. An innovative optical fluid platform has been developed, utilizing Förster resonance energy transfer (FRET) optical methods for fast, simple, quantitative, and highly specific detection of miRNA, addressing issues of difficult transportation and poor timeliness of detection, promoting the integration of optical methods and wearable devices [2]. Also, an extraordinary evanescent field confinement waveguide sensor for mid-infrared trace gas spectroscopy is proposed. This mid-infrared integrated waveguide sensor can address the issues of short optical path and low interaction intensity [3]. Although these methods have not been directly used in wearable devices, they have advantages such as lightweight, timely inspection, and low cost. Therefore, these advantages make them potentially an important part of wearable photonic devices.

Furthermore, the widely used optical devices , such as lase, are usually high-power consumption. Solving energy consumption is a key issue in optical wearable devices. A miniaturized, mechanically soft, and flexible device has been developed for real-time, continuous monitoring of systemic circulation and cerebral hemodynamics. Low-power optoelectronic devices and radio equipment are designed to be powered by replaceable batteries [4]. External energy supply could also enable the use of high-energy detection method. SERS as an example is used for gout detection in wearable devices with artificial intelligence. Flexible electronic wearable SERS platform has ultra-high sensitivity through artificial intelligence (AI) technology. The mobile phone could achieve the process of signal generation and data processing [5]. In addition, through organic photovoltaic integration, self-powered wearable sensing devices have become possible with sun light. The photovoltaic device is different from the classic photovoltaic device made of hard and heavy silicon. Instead, it is made of light and flexible organic material, which is able to be applied in more frequent bending situations [6]. On a soft substrate, high-quality optical display technology can better enhance the user experience for wearable users. Quantum dot, which won the 2023 Nobel Prize in Chemistry, as a new generation of display technology, can have a good compatibility with flexible devices. Currently, scientists have achieved amino-functionalized boron nitride quantum dots that realize full-spectrum luminescence from blue light to red light (from 420 to 610 nm) for the first time, and this has been applied in flexible displays, providing material and device foundations for flexible wearable sensing integration of electronic information technology [7].

In terms of lightweight design, sensing effects, and energy supply, scientists have made significant breakthroughs, continuously leading the advancement of wearable photonic devices. These aforementioned sensing methods provide a reliable foundation for the development of future photonic wearable devices, enabling higher sensitivity, seamless integration with biological systems, and real-time health monitoring capabilities. Their non-invasive nature and energy-efficient design further support applications in personalized healthcare, sports science, and human-machine interfaces, paving the way for intelligent, adaptive wearable ecosystems.

Conclusions

The integration of optical sensor technologies into wearable devices represents a transformative leap in optical technology and biomedical monitoring, driven by innovations in optical sensitivity, non-invasiveness, and multiplex detection. Despite persistent challenges—balancing lightweight design with sensitivity, ensuring reliability, and overcoming power constraints, recent advancements are bridging the gap between laboratory-grade optical systems and practical wearable applications.

According to the recent cutting-edge technology, it is possible to envision the future forms of healthcare. The wearable devices could provide the home medical monitoring means. Regarding the parameters to be tested, the chemical substances in the sweat and exhaled air, the electronic signal above the skin, and the medical imaging are going to be reliable collected by wearable optical device. Regarding the forms of wearable optical devices, it could be everything in our daily scene, including our watches, our rings, our clothing, our glasses. The whole devices contact with different parts of the body is able to build a establishing the Internet, and conduct multimodal data analysis. For instance, the devices on the head-glasses will provide the information about head, such as brain and eyes conditions. The devices on our bodies, such as clothing could bring the biological information about organs. With powerful energy supplying system, the different wearable devices could work without strong perception for people and these different types of multimodal information could be processed through artificial intelligence technology. The emergence of distributed optical sensing networks, through the synergy of clothing, environment, and implanted devices, constructs an all-weather multimodal health information field.

In this way, in the future, it is possible to achieve comfortable and precise optical medical detection methods through the integration of various technologies.  Laboratory-level optical analysis has truly realized the 'disappearing visibility', paving a universal path for precision medicine care for every person!

- References

[1] Psaltis, D., Quake, S. R., & Yang, C. (2006b). Developing optofluidic technology through the fusion of microfluidics and optics. Nature, 442(7101), 381–386. https://doi.org/10.1038/nature05060

[2] Feng, H., Liu, L., Chen, Y., Shu, W., Huang, Y., Zhang, B., Wu, T., Jin, Z., & Chen, Y. (2021f). A compact fiber-integrated optofluidic platform for highly specific microRNA Förster resonance energy transfer detection. The Analyst, 146(14), 4454–4460. https://doi.org/10.1039/d1an00324k

[3] Vlk, M., Datta, A., Alberti, S., Yallew, H. D., Mittal, V., Murugan, G. S., & Jágerská, J. (2021b). Extraordinary evanescent field confinement waveguide sensor for mid-infrared trace gas spectroscopy. Light Science & Applications, 10(1). https://doi.org/10.1038/s41377-021-00470-4

[4] Rwei, A. Y., Lu, W., Wu, C., Human, K., Suen, E., Franklin, D., Fabiani, M., Gratton, G., Xie, Z., Deng, Y., Kwak, S. S., Li, L., Gu, C., Liu, A., Rand, C. M., Stewart, T. M., Huang, Y., Weese-Mayer, D. E., & Rogers, J. A. (2020b). A wireless, skin-interfaced biosensor for cerebral hemodynamic monitoring in pediatric care. Proceedings of the National Academy of Sciences, 117(50), 31674–31684. https://doi.org/10.1073/pnas.2019786117

[5] Chen, Z., Wang, W., Tian, H., Yu, W., Niu, Y., Zheng, X., Liu, S., Wang, L., & Huang, Y. (2024b). Wearable intelligent sweat platform for SERS-AI diagnosis of gout. Lab on a Chip, 24(7), 1996–2004. https://doi.org/10.1039/d3lc01094e

[6] Yu, K., Rich, S., Lee, S., Fukuda, K., Yokota, T., & Someya, T. (2019c). Organic Photovoltaics: Toward Self-POwered Wearable Electronics. Proceedings of the IEEE, 107(10), 2137–2154. https://doi.org/10.1109/jproc.2019.2929797

[7] Ding, Y., He, P., Li, S., Chang, B., Zhang, S., Wang, Z., Chen, J., Yu, J., Wu, S., Zeng, H., & Tao, L. (2021b). Efficient Full-Color boron Nitride Quantum dots for thermostable flexible displays. ACS Nano, 15(9), 14610–14617. https://doi.org/10.1021/acsnano.1c04321